THE  CITIZENS' CO-OPERATIVE  BANK LTD.,

ADMINISTRATIVE OFFICE;117-A/D GANDHI NAGAR , JAMMU.

EPBAX:     2432058  FAX NO: 0191-2432036

# Tender   Document

## For

Supply, Installation, testing and Commissioning of :-

10 KVA Oil Cooled Servo Stabilizers -  Upto 12 Nos

in

different  Branches of    the bank.

***********

THE  CITIZENS' CO-OPERATIVE  BANK LTD.,

ADMINISTRATIVE OFFICE;117-A/D GANDHI NAGAR , JAMMU.

EPBAX:     2432058  FAX NO: 0191-2432036

# Tender    Form

Cost  of  tender document   received   vide Bank Draft/Cash Receipt No.________ Dated_________ for Rs.1,000/-

Tender for :-       Oil  Cooled  Stabilizers

Earnest Money  of  Rs.10,000/-  In the shape of  Bank’s CDR/FDR No.______________dated_____________ of _____________________ Bank enclosed.

To

The Managing Director

The Citizens’ Cooperative Bank Ltd.

Administrative Office

117-A/D Gandhi Nagar, Jammu

!/We________________________________S/O Sh.________________________________

R/O _____________________________________ Prop. M/S_________________________

___________________________ hereby supply  Oil Cooled Stabilizers   to The Citizens’ Cooperative  Bank Ltd.   Administrative Office, 117-A/D  Gandhi Nagar  Jammu and declare as under :-

- I/we have  sufficient  experience  for  supply of   Oil Cooled Stabilizers.

- That I/We have carefully  gone through the terms and conditions  of  the Tender  and bind  myself/ourselves  to adhere  to the  quality  and quantity parameters  and rates.

- That the   rates quoted    in the enclosed tender form have been written by me/ us under my/our  personal supervision  and are firm.

- That I/We  shall be bound by the  Citizens’ Coop. Bank Ltd.Jammu instructions regarding  quality  and quantity materials  and other conditions.

- That the rates quoted are not above the rates applicable  for Central/State Governments/ Autonomous Organization.

Name  and Address  of the tenderer

Specification for 10 KVA oil cooled Servo controlled Power transformer

1 :-    Capacity               --      10KVA

2 :-     Technology         ---   oil cooled    Servo controlled system

3 :-     Input voltage     --     100 to 270 volts AC

4 :-     Output voltage  --     220  plus-minus 1%

5 :-     Phase                    --     AC  single phase

6 :-     Adjust time         --      With in 1 sec. against 10 %

Input voltage variation.

7 :-     Efficiency             --      98%

8 :-     Ambient temp.   --      5  to 50 deg centigrade.

9 :-     Relative humidity --   up to 95 %.

10:-    Frequency              --    50 Hz

11:-    Output/ Input  over

voltage protection    --  230 plus-minus 4V  AC

12:-    Low voltage protection – 200 plus –minus 4V

13:-    LCD  Display --

colour: Red/Green/White/Blue

14:-   Information indicators:--   Working, input/out put voltage,

Load usage, and provided with overheating and

overload protection.

Terms and Conditions:-

- Tenderers are  requested   to quote discount percentage  clearly in words  and figures and no overwriting   should be   done. In case  of overwriting  or cutting  the same should be attested with Stamp and Signature  of Firm/Authorized  Agent submitting  the Tender Notice.

- No conditional tender  will be accepted. Quotation should be  clear   and no condition on account  of quoted  discount will be  considered.

- Successful  tenderer will have   to  execute  the  supplies   within                       15 days after   the issue of  order.

- Delayed  execution of  supply  after the expiry of stipulated period shall attract penalty of Rs.500/- per day till the execution of  supply order .

- The CDR/FDR of the  successful  tenderer   pledged  to the bank  shall be released  in their favour  12 months after  the execution of successful work.

- The  tenderers  are  required  to  clearly mention  Warranty period  on articles  supplied.

- The Tenderers  are  required   to  attach the list  of similar  works executed/supplies made.

- Rates  should be F.O.R at Jammu at  different  locations and nothing  extra will be paid on account of loading/unloading freight or toll etc.

- Quantity  of items  can decrease/increase.

*********